## Read Me First
Fannie Mae Third-Party Report Standards - Property Condition Assessment Data Supplement v2.3.4 - Read Me First
There are four tabs in this Excel file:
| Read Me First | This worksheet contains instructions on how to use this Excel file; do not alter its contents.
| PCA Data Input | This worksheet accepts user data.
| PCA Repairs-CapItems Data Input | This worksheet accepts user data.
| PCA Data View | This worksheet is automatically populated by data from the 'PCA Data Input' tab and 'PCA Repairs-CapItems Data Input'
tab; do not alter its contents.
To Third-Party Report Preparers:
Use the 'PCA Data Input' tab and 'PCA Repairs-CapItems Data Input' tab to enter data, save your file; and
Click on the 'PCA Data View' tab and save it as a *.CSV file following the below file naming convention for delivery to the Lender.
File Naming Convention for deals with one property: DealIdentifier_PCA.csv
File Naming Convention for deals with "n" properties: DealIdentifier_PCA_1.csv, DealIdentifier_PCA_2.csv, …, DealIdentifier_PCA_n.csv
Do not alter the format of this worksheet.
© 2021 Fannie Mae. Trademarks of Fannie Mae.

## PCA Data Input
Fannie Mae Third-Party Report Standards - Property Condition Assessment Data Supplement v2.3.4 - PCA Data Input
| Enter Values in this Column | Helpful Hints
| ⇓ | ⇓
Lender Information
DUS Lender Name |  | Text, 1-100 character long
Third-Party Report Requester Name |  | Text, 1-100 character long
Report Information
Third-Party Report Type |  | Drop-down menu selection
Third-Party Report Sub Type |  | Drop-down menu selection
Third-Party Report Company Name |  | Text, 1-100 character long
Third-Party Report Signatory Name |  | Text, 1-100 character long
Third-Party Report Assessor Name |  | Text, 1-100 character long
Third-Party Report Signature Date |  | MM/DD/YYYY
Third-Party Report Project Identifier |  | Text, 0-100 character long
Third-Party Report Scope Standard |  | Drop-down menu selection
Property Location
Zip Code |  | Text, 5 character long
State |  | Drop-down menu selection
City |  | Text, 1-100 character long
Property Address |  | Text, 1-100 character long
Property Details
Property Name |  | Text, 0-100 character long
Jurisdiction |  | Text, 1-100 character long
Number of Parcels |  | Whole number, 1+
Assessor's Parcel Number |  | Text, 0-100 character long
Adjoining Parcel? |  | Drop-down menu selection
Scattered Parcel? |  | Drop-down menu selection
Years of Construction |  | Text, 1-100 character long
Year of Renovation |  | 4-digit year , greater than or equal to '1700'
Number of Multifamily Buildings |  | Whole number, 0 to 999
Number of Other Buildings |  | Whole number, 0 to 999
Building Type |  | Drop-down menu selection
Building Type Description |  | Text, 1-100 character long
Number of Stories |  | Text, 1-100 character long
Use of Ground Floor |  | Drop-down menu selection
Use of Ground Floor Description |  | Text, 1-100 character long
Number of Units |  | Whole number, 1 to 99999
Number of Beds |  | Whole number, 0 to 99999
Assessment Date
Property Condition Assessment Date |  | MM/DD/YYYY
Assessment Details
Number of Units Inspected |  | Whole number, 0 to 9999
Percent of Units Inspected |  | Number with up to 2 decimals; enter value preceding the percent sign e.g., if value is 1.25%, enter 1.25
Units Inspected Selected by PCA Consultant? |  | Drop-down menu selection
Number of Down Units |  | Whole number, 0 to 9999
Property Net Rentable Residential Area in Square Feet |  | Decimal, 0.01 to 9,999,999.99
Property Total Gross Building Area in Square Feet |  | Decimal, 0.01 to 9,999,999.99
Moisture or Microbial Growth Present? |  | Drop-down menu selection
Pest Present? |  | Drop-down menu selection
Property High Seismic Risk Zone? |  | Drop-down menu selection
Catastrophic Event Prone? |  | Drop-down menu selection
Zoning, Building, or Fire Code Violation? |  | Drop-down menu selection
ADA/FHA Compliance Issues? |  | Drop-down menu selection
Energy Compliance and Reporting? |  | Drop-down menu selection
Number of Existing Parking Spaces |  | Whole number, 0 to 9999
Number of Handicap Accessible Parking Spaces |  | Whole number, 0 to 9999
Parking Ratio |  | Number with up to 2 decimals, 0.00 to 10.00; enter the ratio in decimals e.g., if ratio is 0.63, enter 0.63
Common Stairways or Hallways? |  | Drop-down menu selection
Covered Common Breezeways? |  | Drop-down menu selection
Roof Type |  | Drop-down menu selection
Roof Type Description |  | Text, 1-100 character long
Multifamily Building Construction Type |  | Drop-down menu selection
Multifamily Building Construction Type Description |  | Text, 1-100 character long
Walkway Construction Type |  | Drop-down menu selection
Walkway Construction Type Description |  | Text, 1-100 character long
Student Housing Module Completed? |  | Drop-down menu selection
Seniors Housing Module Completed? |  | Drop-down menu selection
Solar PV Module Completed? |  | Drop-down menu selection
Manufactured Housing Module Completed? |  | Drop-down menu selection
Cooperative Property Module Completed? |  | Drop-down menu selection
Commercial/Retail Use Module Completed? |  | Drop-down menu selection
IPMP Module Completed? |  | Drop-down menu selection
HPB Module or Report Completed? |  | Drop-down menu selection
Property Condition Rating |  | Whole number, 1 to 5
Known Problematic Building Materials (KPBM)
KPBM Action Recommended |  | Drop-down menu selection
Aluminum Branch Wiring |  | Drop-down menu selection
Compressed Wood or Composite Board Siding |  | Drop-down menu selection
Electrical Overload Protection - Fused Subpanels |  | Drop-down menu selection
Exterior Insulation and Finishing (EIFS) |  | Drop-down menu selection
Federal Pacific Electric Stab-Lok panels |  | Drop-down menu selection
Fire Retardant Treated Plywood (FRTP) |  | Drop-down menu selection
Galvanized Steel Water Distribution Lines |  | Drop-down menu selection
Ground Fault Circuit Interrupter (GFCI) in wet / exterior locations |  | Drop-down menu selection
Microbial Growth |  | Drop-down menu selection
Polybutylene Water Distribution Lines |  | Drop-down menu selection
Problem Drywall |  | Drop-down menu selection
Recalled Cadet Brand Electric in-Wall Heaters |  | Drop-down menu selection
Recalled fire sprinkler heads (Central, Omega, Gem, Star) |  | Drop-down menu selection
Recalled General Electric / Hotpoint dishwashers |  | Drop-down menu selection
Unit electrical capacity less than 60 amps |  | Drop-down menu selection
Wood Destroying Organisms |  | Drop-down menu selection
Lack Of GFCI In Wet Locations |  | Drop-down menu selection
Lack Of GFCI In Exterior Locations |  | Drop-down menu selection
Other |  | Drop-down menu selection
KPBM Other Description |  | Text, 1-100 character long
Fannie Mae Identifiers |  | To be provided by the Lender
Deal Identifier |  | Required
Collateral Reference Number |  | Recommended for deals with multiple properties

## PCA Repairs-CapItems Data Input
Fannie Mae Third-Party Report Standards - Property Condition Assessment Data Supplement v2.3.4 - Immediate Repairs and Replacement of Capital Items
Fannie Mae Identifiers, PCA Data Record, Action Code [fill out for all PCA Data Record Types] |  |  |  | Immediate Repairs [fill out only for PCA Data Record Type = I] |  |  | Replacement of Capital Items [fill out only for PCA Data Record Type = C] | Capital Item Annual Inflation Rate | 3% | [7 empty] | Replacement of Capital Items (continued) [fill out only for PCA Data Record Type = C]
Deal Identifier | Collateral Reference Number | PCA Data Record Type | Action Code | Immediate Repair Category | Immediate Repair Item | Immediate Repair Cost | Capital Item Category | Capital Item | Capital Item Total Cost Over Evaluation Period | Capital Item Effective Age | Capital Item Remaining Useful Life | Capital Item Year 1 | Capital Item Year 2 | Capital Item Year 3 | Capital Item Year 4 | Capital Item Year 5 | Capital Item Year 6 | Capital Item Year 7 | Capital Item Year 8 | Capital Item Year 9 | Capital Item Year 10 | Capital Item Year 11 | Capital Item Year 12 | Capital Item Year 13 | Capital Item Year 14 | Capital Item Year 15
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
Do not enter any data record beyond this row. | [10 empty] | Capital Item Total Uninflated | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | Capital Item Total Inflated at Annual Inflation Rate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## PCA Data View
Fannie Mae Third-Party Report Standards - Property Condition Assessment Data Supplement v2.3.4 - Data View
Deal Identifier | Collateral Reference Number | PCA Data Record Type | DUS Lender Name | Third-Party Report Requester Name | Third-Party Report Type | Third-Party Report Sub Type | Third-Party Report Company Name | Third-Party Report Signatory Name | Third-Party Report Assessor Name | Third-Party Report Signature Date | Third-Party Report Project Identifier | Third-Party Report Scope Standard | Zip Code | State | City | Property Address | Property Name | Jurisdiction | Number Of Parcels | Assessor's Parcel Number | Adjoining Parcel? | Scattered Parcel? | Years of Construction | Year of Renovation | Number of Multifamily Buildings | Number of Other Buildings | Building Type | Building Type Description | Number of Stories | Use of Ground Floor | Use of Ground Floor Description | Number of Units | Number of Beds | Property Condition Assessment Date | Number of Units Inspected | Percent of Units Inspected | Units Inspected Selected by PCA Consultant? | Number of Down Units | Property Net Rentable Residential Area in Square Feet | Property Total Gross Building Area in Square Feet | Moisture or Microbial Growth Present? | Pest Present? | Property High Seismic Risk Zone? | Catastrophic Event Prone? | Zoning, Building, or Fire Code Violation? | ADA FHA Compliance Issues? | Energy Compliance and Reporting? | Number of Existing Parking Spaces | Number of Handicap Accessible Parking Spaces | Parking Ratio | Common Stairways or Hallways? | Covered Common Breezeways? | Roof Type | Roof Type Description | Multifamily Building Construction Type | Multifamily Building Construction Type Description | Walkway Construction Type | Walkway Construction Type Description | Student Housing Module Completed? | Seniors Housing Module Completed? | Manufactured Housing Module Completed? | Cooperative Property Module Completed? | Commercial/Retail Use Module Completed? | IPMP Module Completed? | HPB Module or Report Completed? | Property Condition Rating | KPBM Action Recommended? | Aluminum Branch Wiring? | Compressed Wood or Composite Board Siding? | Electrical Overload Protection - Fused Subpanels? | Exterior Insulation and Finishing (EIFS)? | Federal Pacific Electric Stab-Lok panels? | Fire Retardant Treated Plywood? | Galvanized Steel Water Distribution Lines? | Ground Fault Circuit Interrupter In Wet Exterior Locations? | Microbial Growth? | Polybutylene Water Distribution Lines? | Problem Drywall? | Recalled Cadet Brand Electric in-Wall Heaters? | Recalled Fire Sprinkler Heads Central Omega Gem Star? | Recalled General Electric Hotpoint Dishwashers? | Unit Electrical Capacity Less Than 60 Amps? | Wood Destroying Organisms? | KPBM Other? | Other Description | Total Immediate Repairs Cost | Capital Item Annual Inflation Rate | Capital Item Total Uninflated | Capital Item Total Inflated at Annual Inflation Rate | Lack Of GFCI In Wet Locations | Lack Of GFCI In Exterior Locations | Solar PV Module Completed?
|  | M | [83 empty] | 0 | 0.03 | 0 | 0
Deal Identifier | Collateral Reference Number | PCA Data Record Type | Action Code | Immediate Repair Category | Immediate Repair Item | Immediate Repair Cost | Capital Item Category | Capital Item | Capital Item Total Cost Over Evaluation Period | Capital Item Remaining Useful Life | Capital Item Year 1 | Capital Item Year 2 | Capital Item Year 3 | Capital Item Year 4 | Capital Item Year 5 | Capital Item Year 6 | Capital Item Year 7 | Capital Item Year 8 | Capital Item Year 9 | Capital Item Year 10 | Capital Item Year 11 | Capital Item Year 12 | Capital Item Year 13 | Capital Item Year 14 | Capital Item Year 15 | Capital Item Effective Age
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
[10 empty] | Capital Item Total Uninflated | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | Capital Item Total Inflated at Annual Inflation Rate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Reference Values (hidden)
Yes | No | PCA | Residential | Retail | Parking | Other | Wood Frame | Steel Frame | Concrete Frame (Pre-cast) | Concrete Frame (Cast-in-place) | Reinforced Masonry | Unreinforced Masonry | Other | Garden | High-Rise | Mid-Rise | Townhouse | Single Family Rental | Other | Flat | Pitched | Other | ASTM E2018 | M | Base PCA | Streamlined PCA
AL | AK | AZ | AR | CA | CO | CT | DE | DC | FL | GA | HI | ID | IL | IN | IA | KS | KY | LA | ME | MD | MA | MI | MN | MS | MO | MT | NE | NV | NH | NJ | NM | NY | NC | ND | OH | OK | OR | PA | RI | SC | SD | TN | TX | UT | VT | VA | WA | WV | WI | WY | PR
I | C |  | IM | INV | RR | R&M | NA | No
Life Safety Repairs | Critical Repairs | Deferred Maintenance | Items Of Note | Short Term Replacement Of Capital Items
Site Components | Alternative Energy Systems | Amenities Cable or Internet Availability | Amenities HotTub/Spa | Amenities Picnic Areas | Amenities Playground | Amenities Sport Courts | Amenities Swimming Pool | Amenities Tennis Courts | Amenities Tot Lots | Curbs and Gutter | Dwelling Units | Emergency Generator | Fencing Patio | Fencing Perimeter | Fencing Refuse Area | Fencing Swimming Pool | Fencing Tennis Court | Irrigation | Landscaping | Parking Area Lighting | Parking Pavement | Parking Structures | Pool/Spa Deck Surface | Pool/Spa Plaster/Lining | Plumbing Systems and Domestic Hot Water | Ramps | Seal Coat And Striping | Sidewalks | Signage | Site/Building Lighting | Storm Drainage | Transformers | Utilities Sanitary And Storm Sewers Water Gas And Electric Lines | Water Features | Water Wells
Structural Frame And Building Envelope Architectural Components | Amenities Handrails | Balconies, Stairs and Upper Level Walkways | Cladding | Exterior Doors and Frames | Exterior Walls, Siding, Paint | Foundations | Roof Coverings | Roof Drainage | Roof Systems | Structural System Framing | Windows and Frames
Mechanical Electrical And Plumbing Systems | Air Conditioning Equipment | Building Management Systems | Domestic Water Supply Lines And Distribution | Electrical Systems | Gas Distribution System | Heating Equipment | Lift Stations | Pool Pump and Filtration Equipment | Pool and/or Spa Filtration Equipment | Pool and/or Spa Heating Equipment | Waste Service Lines | Waste Water Treatment System | Water Heaters
Vertical Transportation Including Elevators And Stairs | Elevators | Exterior Steps
Life Safety And Fire Protection | Carbon Monoxide Detectors | Fire Alarms | Fire Suppression | Security Alarms | Wet Sprinklers in Common Area | Dry Sprinklers in Common Area | Wet Sprinklers inside the Units | Dry Sprinklers inside the Units
Interior Elements Dwelling Units And Common Areas | Barbecue | Bathroom Cabinetry/Vanity | Cable or Internet Availability | Common Area Amenities | Common Area FF&E | Common Area Finishes | Doors and Windows | Handrails | Overall Unit Interiors | Kitchen Appliances | Kitchen Cabinetry and Countertops | Unit Cabinetry / Vanity | Unit Finishes | Unit Washer Dryer | Unit Refrigerator | Unit Range Oven | Unit Microwave Oven | Unit Dishwasher | Unit Washing Machine | Unit Clothes Dryer